# Radiated Emission Multiband ReportGenerator Codes

|  | Description | Code ¦¦~Code¦¦ | Output band 1 | Output band 2 |
| --- | --- | --- | --- | --- |
| 1 | Frequencies Start | ¦¦~Frequencies Start¦¦ | ¦¦Band 1 Frequencies Start¦¦ | ¦¦Band 2 Frequencies Start¦¦ |
| 2 | Frequencies End | ¦¦~Frequencies End¦¦ | ¦¦Band 1 Frequencies End¦¦ | ¦¦Band 2 Frequencies End¦¦ |
| 3 | Reference level | ¦¦~Reference level¦¦ | ¦¦Band 1 Reference level¦¦ | ¦¦Band 2 Reference level¦¦ |
| 4 | Attenuation | ¦¦~Attenuation¦¦ | ¦¦Band 1 Attenuation¦¦ | ¦¦Band 2 Attenuation¦¦ |
| 5 | RBW | ¦¦~RBW¦¦ | ¦¦Band 1 RBW¦¦ | ¦¦Band 2 RBW¦¦ |
| 6 | VBW | ¦¦~VBW¦¦ | ¦¦Band 1 VBW¦¦ | ¦¦Band 2 VBW¦¦ |
| 7 | Sweeptime | ¦¦~Sweeptime¦¦ | ¦¦Band 1 Sweeptime¦¦ | ¦¦Band 2 Sweeptime¦¦ |
| 8 | Frequency Stepper Fixed Step | ¦¦~Frequency Stepper Fixed Step¦¦ | ¦¦Band 1 Frequency Stepper Fixed Step¦¦ | ¦¦Band 2 Frequency Stepper Fixed Step¦¦ |
| 9 | Frequency Stepper StepType | ¦¦~Frequency Stepper StepType¦¦ | ¦¦Band 1 Frequency Stepper StepType¦¦ | ¦¦Band 2 Frequency Stepper StepType¦¦ |
| 10 | Measure time | ¦¦~Measure time¦¦ | ¦¦Band 1 Measure time¦¦ | ¦¦Band 2 Measure time¦¦ |
| 11 | Preamplification | ¦¦~Preamplification¦¦ | ¦¦Band 1 Preamplification¦¦ | ¦¦Band 2 Preamplification¦¦ |
| 12 | Number of sweeps | ¦¦~Number of sweeps¦¦ | ¦¦Band 1 Number of sweeps¦¦ | ¦¦Band 2 Number of sweeps¦¦ |
| 13 | Testsite Name | ¦¦~Testsite Name¦¦ | ¦¦Band 1 Testsite Name¦¦ | ¦¦Band 2 Testsite Name¦¦ |
| 14 | LocationTypeText | ¦¦~LocationTypeText¦¦ | ¦¦Band 1 LocationTypeText¦¦ | ¦¦Band 2 LocationTypeText¦¦ |
| 15 | Antenna movement Highest height | ¦¦~Antenna movement Highest height¦¦ | ¦¦Band 1 Antenna movement Highest height¦¦ | ¦¦Band 2 Antenna movement Highest height¦¦ |
| 16 | Antenna movement Lowest height | ¦¦~Antenna movement Lowest height¦¦ | ¦¦Band 1 Antenna movement Lowest height¦¦ | ¦¦Band 2 Antenna movement Lowest height¦¦ |
| 17 | Antenna movement Number of heights | ¦¦~Antenna movement Number of heights¦¦ | ¦¦Band 1 Antenna movement Number of heights¦¦ | ¦¦Band 2 Antenna movement Number of heights¦¦ |
| 18 | Antenna movement Mode | ¦¦~Antenna movement Mode¦¦ | ¦¦Band 1 Antenna movement Mode¦¦ | ¦¦Band 2 Antenna movement Mode¦¦ |
| 19 | Antenna distance | ¦¦~Antenna distance¦¦ | ¦¦Band 1 Antenna distance¦¦ | ¦¦Band 2 Antenna distance¦¦ |
| 20 | Antenna distance | ¦¦~Antenna distance¦¦ | ¦¦Band 1 Antenna distance¦¦ | ¦¦Band 2 Antenna distance¦¦ |
| 21 | Antenna polarization | ¦¦~Antenna polarization¦¦ | ¦¦Band 1 Antenna polarization¦¦ | ¦¦Band 2 Antenna polarization¦¦ |
| 22 | Turntable movement Start angle | ¦¦~Turntable movement Start angle¦¦ | ¦¦Band 1 Turntable movement Start angle¦¦ | ¦¦Band 2 Turntable movement Start angle¦¦ |
| 23 | Turntable movement End angle | ¦¦~Turntable movement End angle¦¦ | ¦¦Band 1 Turntable movement End angle¦¦ | ¦¦Band 2 Turntable movement End angle¦¦ |
| 24 | Turntable movement Number of angles | ¦¦~Turntable movement Number of angles¦¦ | ¦¦Band 1 Turntable movement Number of angles¦¦ | ¦¦Band 2 Turntable movement Number of angles¦¦ |
| 25 | Turntable movement Mode | ¦¦~Turntable movement Mode¦¦ | ¦¦Band 1 Turntable movement Mode¦¦ | ¦¦Band 2 Turntable movement Mode¦¦ |
| 26 | EUT angle offset | ¦¦~EUT angle offset¦¦ | ¦¦Band 1 EUT angle offset¦¦ | ¦¦Band 2 EUT angle offset¦¦ |
| 27 | Limitline Description | ¦¦~Limitline Description¦¦ | ¦¦Band 1 Limitline Description¦¦ | ¦¦Band 2 Limitline Description¦¦ |
| 28 | Limitline Peak | ¦¦~Limitline Peak¦¦ | ¦¦Band 1 Limitline Peak¦¦ | ¦¦Band 2 Limitline Peak¦¦ |
| 29 | Limitline Average | ¦¦~Limitline Average¦¦ | ¦¦Band 1 Limitline Average¦¦ | ¦¦Band 2 Limitline Average¦¦ |
| 30 | Limitline Quasi peak | ¦¦~Limitline Quasi peak¦¦ | ¦¦Band 1 Limitline Quasi peak¦¦ | ¦¦Band 2 Limitline Quasi peak¦¦ |
| 31 | Limitline RMS | ¦¦~Limitline RMS¦¦ | ¦¦Band 1 Limitline RMS¦¦ | ¦¦Band 2 Limitline RMS¦¦ |
| 32 | Above Limit | ¦¦~Above Limit¦¦ | ¦¦Band 1 Above Limit¦¦ | ¦¦Band 2 Above Limit¦¦ |
| 33 | Number of peaks | ¦¦~Number of peaks¦¦ | ¦¦Band 1 Number of peaks¦¦ | ¦¦Band 2 Number of peaks¦¦ |
| 34 | Peak discrimination | ¦¦~Peak discrimination¦¦ | ¦¦Band 1 Peak discrimination¦¦ | ¦¦Band 2 Peak discrimination¦¦ |

| Band 1 | Band 2 |
| --- | --- |
| Limitline Limitline Table Band1 ¦¦~Band 1 Limitline Description¦¦ ¦¦~Band 1 Limitline Limitline Table¦¦. | Band 2 Limitline Limitline Table ¦¦~Band 2 Limitline Description¦¦ ¦¦~Band 2 Limitline Limitline Table¦¦. |
| ¦¦Band 1 Limitline Description¦¦ ¦¦Band 1 Limitline Limitline Table¦¦. | ¦¦Band 2 Limitline Description¦¦ ¦¦Band 2 Limitline Limitline Table¦¦. |