# Radiated Emission Multiband ReportGenerator Codes

|  | Description | Code ¦¦~Code¦¦ | Output band 1 | Output band 2 |
| --- | --- | --- | --- | --- |
| 1 | Frequencies Start | ¦¦~Frequencies Start¦¦ | 1 MHz | 1 kHz |
| 2 | Frequencies End | ¦¦~Frequencies End¦¦ | 1 GHz | 1 MHz |
| 3 | Reference level | ¦¦~Reference level¦¦ | 60 dBµV | 110 dBµV |
| 4 | Attenuation | ¦¦~Attenuation¦¦ | 40,0 dB | 10,0 dB |
| 5 | RBW | ¦¦~RBW¦¦ | 30 kHz | 1 kHz |
| 6 | VBW | ¦¦~VBW¦¦ | Auto [120 kHz] | Auto [120 kHz] |
| 7 | Sweeptime | ¦¦~Sweeptime¦¦ | Auto [120 ms] | Auto [120 ms] |
| 8 | Frequency Stepper Fixed Step | ¦¦~Frequency Stepper Fixed Step¦¦ | 30 MHz | 50 kHz |
| 9 | Frequency Stepper StepType | ¦¦~Frequency Stepper StepType¦¦ | Linear | Linear |
| 10 | Measure time | ¦¦~Measure time¦¦ | 20 ms | 5 ms |
| 11 | Preamplification | ¦¦~Preamplification¦¦ | 20 dB | 0 dB |
| 12 | Number of sweeps | ¦¦~Number of sweeps¦¦ | 1 | 1 |
| 13 | Testsite Name | ¦¦~Testsite Name¦¦ | Virtual | Virtual |
| 14 | LocationTypeText | ¦¦~LocationTypeText¦¦ | Antenna height, distance, polarization and angle | Antenna height, distance, polarization and angle |
| 15 | Antenna movement Highest height | ¦¦~Antenna movement Highest height¦¦ | 4 m | 1 m |
| 16 | Antenna movement Lowest height | ¦¦~Antenna movement Lowest height¦¦ | 3 m | 1 cm |
| 17 | Antenna movement Number of heights | ¦¦~Antenna movement Number of heights¦¦ | 3 | 1 |
| 18 | Antenna movement Mode | ¦¦~Antenna movement Mode¦¦ | Stepped | Stepped |
| 19 | Antenna distance | ¦¦~Antenna distance¦¦ | 3 m | 1 cm |
| 20 | Antenna distance | ¦¦~Antenna distance¦¦ | 3 m | 1 cm |
| 21 | Antenna polarization | ¦¦~Antenna polarization¦¦ | Vertical | Horizontal |
| 22 | Turntable movement Start angle | ¦¦~Turntable movement Start angle¦¦ | 45 Degree | 0 Degree |
| 23 | Turntable movement End angle | ¦¦~Turntable movement End angle¦¦ | 225 Degree | 360 Degree |
| 24 | Turntable movement Number of angles | ¦¦~Turntable movement Number of angles¦¦ | 5 | 1 |
| 25 | Turntable movement Mode | ¦¦~Turntable movement Mode¦¦ | Stepped | Stepped |
| 26 | EUT angle offset | ¦¦~EUT angle offset¦¦ | 45 Degree | 0 Degree |
| 27 | Limitline Description | ¦¦~Limitline Description¦¦ | Blue | Blue |
| 28 | Limitline Peak | ¦¦~Limitline Peak¦¦ | True | True |
| 29 | Limitline Average | ¦¦~Limitline Average¦¦ | True | True |
| 30 | Limitline Quasi peak | ¦¦~Limitline Quasi peak¦¦ | True | True |
| 31 | Limitline RMS | ¦¦~Limitline RMS¦¦ | True | True |
| 32 | Above Limit | ¦¦~Above Limit¦¦ | 0,0 dB | 0,0 dB |
| 33 | Number of peaks | ¦¦~Number of peaks¦¦ | 5 | 5 |
| 34 | Peak discrimination | ¦¦~Peak discrimination¦¦ | Undefined | CISPR 25 |

| Band 1 | Band 2 |
| --- | --- |
| Limitline Limitline Table Band1 ¦¦~Band 1 Limitline Description¦¦ ¦¦~Band 1 Limitline Limitline Table¦¦. | Band 2 Limitline Limitline Table ¦¦~Band 2 Limitline Description¦¦ ¦¦~Band 2 Limitline Limitline Table¦¦. |
| Blue Frequency; Value. 1; 100. 300; 100. 300; 150. 400; 100. 500; 100. | Blue Frequency; Value. 1; 100. 300; 100. 300; 150. 400; 100. 500; 100. |